## Slide 1
2015 Progress Report for OE ARRA Smart Grid Demonstration Program
Aggregation of RDSI, SGDP, and SGIG Results
U.S. Department of Energy
National Energy Technology Laboratory
May 2015

## Slide 2: Table of Contents
1
Introduction
2
Foundational Work
3
Renewable and Distributed Systems Integration Program
4
Smart Grid Demonstration Program
6
Summary
5
Topical Reports
Smart Grid Business Case Analysis – May 2015
This presentation will show the key takeaways from the 2015 Progress Report for OE ARRA Smart Grid Demonstration Program

## Slide 3: SG Business Case Analysis » Introduction
The OE ARRA Smart Grid Demonstration Program investigated the business case for smart grid technologies
This report provides an analysis of the business case for the smart grid based on an aggregation of the analyses of the OE ARRA Smart Grid Demonstration Program. The various Smart Grid programs associated with this task were implemented through separate initiatives and described in separate reports.
Smart Grid Business Case Analysis – May 2015
Project Overview

## Slide 4: SG Business Case Analysis » Introduction
The following three Smart Grid programs form the analytical basis of this work
Smart Grid Business Case Analysis – May 2015
Analytically Foundational Programs
Renewable and Distributed Systems Integration Program (RDSI)
Smart Grid Demonstration Program (SGDP)
Smart Grid Investment Grant Program (SGIG)

## Slide 5: SG Business Case Analysis » Introduction
The RDSI Program is composed of nine projects in total
The aim of the RDSI Program was to develop and demonstrate new distribution system configurations integrated with distributed resources. The projects are specifically focused on demonstrating microgrids or its enabling elements such as communications and control strategies for demand response, distributed renewable generation systems, storage technologies, advanced sensors, and energy efficient building sub-systems.
Including recipient cost share, the combined budget of the nine projects exceeds $100 million.
Smart Grid Business Case Analysis – May 2015
RDSI Overview

## Slide 6: SG Business Case Analysis » Introduction
The SGDP includes many more, rounding out at 32 projects total
The aim of the SGDP was to demonstrate new and more cost-effective smart grid technologies, tools, techniques, and system configurations that significantly improve on the ones commonly used today.
Smart Grid Business Case Analysis – May 2015
SGDP Overview

## Slide 7: SG Business Case Analysis » Introduction
Two types of smart grid projects were selected for the SGDP
Smart Grid Business Case Analysis – May 2015
SGDP Project Breakdown
Regional Smart Grid Demonstrations
Energy Storage Demonstrations
Includes 16 projects Verify smart grid viability, quantify smart grid costs and benefits Validate new smart grid business models at scales that can be readily replicated across the country
Includes 16 projects Batteries, flywheels, and compressed air energy storage systems Functions include load shifting, ramping control, frequency regulation services, distributed applications, and integration of renewable resources

## Slide 8: SG Business Case Analysis » Introduction
The total budget for the 32 projects is approximately $1.6 billion with a federal share of approximately $600 million
As of May 2015 the actual expenditures was $1.517 Billion for the 32 SGDP projects.
Smart Grid Business Case Analysis – May 2015
Project Budget

## Slide 9: SG Business Case Analysis » Introduction
Smart Grid Business Case Analysis – May 2015
The SGIG Program is much larger and includes 99 unique projects
The purpose of the grant program is to accelerate the modernization of the nation’s electric transmission and distribution systems and promote investments in smart grid technologies, tools, and techniques that increase flexibility, functionality, interoperability, cybersecurity, situational awareness, and operational efficiency and are affordable, reliable, clean, and flexible.
The SGIG program was authorized by the Energy Independence and Security Act of 2007, Section 1306, as amended by the Recovery Act.
SGIG Overview

## Slide 10: SG Business Case Analysis » Introduction
Significant work in relation to smart grid concepts, research, and testing was conducted prior to the start of this program
Smart Grid Business Case Analysis – May 2015
Past Smart Grid Work
Modern Grid Initiative Led by NETL Developed early smart grid concepts and benefits Communicated concepts to stakeholders nationally
Methodology for Estimating Smart Grid Costs and Benefits Developed by EPRI in collaboration with DOE Provided framework to support business case development

## Slide 11: Table of Contents
1
Introduction
2
Foundational Work
3
Renewable and Distributed Systems Integration Program
4
Smart Grid Demonstration Program
5
Topical Reports
Smart Grid Business Case Analysis – May 2015
The foundational work outlined made possible the success of projects down the road
6
Summary

## Slide 12: SG Business Case Analysis » Foundational Work
A number of foundational tools and processes were created under this program
Updated the SGIG Guidebook to support SGDP/RDSI Metrics and Benefits reporting
“Build Metrics” and “Impact Metrics” reported to TPOs by projects
Data Analysis Teams provided analytical guidance to enhance the quality of the interim and final technical reports (FTR)
Smart Grid Business Case Analysis – May 2015
Metrics and Benefits Reporting Plan and Process (MBRP)

## Slide 13: SG Business Case Analysis » Foundational Work
Firstly, the Smart Grid Computational Tool (SGCT) supports cost and benefit analysis
A user guide was also prepared to assist new users through the SGCT process.
Identifies the technologies to be installed and the technologies’ functions.
Uses functions to identify the benefits the smart grid project will yield
Guides the user in entering data to calculate the value of the benefits
Generates graphs and tables that summarize the costs and benefits of the project to help illustrate the project’s overall value
Smart Grid Business Case Analysis – May 2015
SGCT Tool Overview

## Slide 14: SG Business Case Analysis » Foundational Work
Secondly, the Energy Storage Computational Tool (ESCT) characterizes energy storage projects and provides a cost benefit analysis
A user guide was also prepared to assist new users through the SGCT process.
Characterizes energy storage projects by identifying the storage technologies employed and identifying the applications pursued
Based on this characterization, identifies the benefits the storage project will yield
Guides the user in entering data to calculate the value of the benefits and associated capital and O&M costs
Generates graphs and tables that summarize the costs and benefits of the project to help illustrate the project's overall value
Uses the benefit analysis methodology that DOE uses to evaluate the Recovery Act smart grid projects.
Smart Grid Business Case Analysis – May 2015
ESCT Tool Overview

## Slide 15: Table of Contents
1
Introduction
2
Foundational Work
3
Renewable and Distributed Systems Integration Program
4
Smart Grid Demonstration Program
5
Topical Reports
Smart Grid Business Case Analysis – May 2015
6
Summary

## Slide 16
Project | Technology Focus
Monongahela Power | Terminated before completion
ATK Launch Systems | DER Integration (wind and storage)
Chevron Energy Solutions | Microgrid
Con Edison Co of NY | DR Integration (DR control center)
Illinois Institute of Technology | Microgrid
San Diego Gas and Electric | Microgrid
Hawaii Natural Energy Institute | DER Integration (wind and storage)
SG Business Case Analysis » RDSI Program
Projects are considered complete when the demonstration is complete and the FTR has been received by NETL.
Smart Grid Business Case Analysis – May 2015
Completed RDSI Projects

## Slide 17
Project | Technology Focus | FTR Expected
City of Fort Collins | DER Integration | June 2015
University of Nevada | Residential storage, DR, EE | Sept 2015
SG Business Case Analysis » RDSI Program
Smart Grid Business Case Analysis – May 2015
In-Progress RDSI Projects

## Slide 18
Although the RDSI Programs saw some setbacks, there emerged valuable observations
SG Business Case Analysis » RDSI Program
Smart Grid Business Case Analysis – May 2015
RDSI Program Takeaways
Observations | 
1 | Microgrid projects operated in both grid-connected and island modes and each met substantial reductions in peak load
2 | Con Edison of NY aggregated DR resources using its DR Control Center (DRCC) and successfully offered them to the NYISO market
3 | Completed projects collectively met the aim of the RDSI program
4 | ATK Launch integrated energy storage with wind to shift the load profile although it did not achieve a 15% peak load reduction
5 | Only two projects—the IIT microgrid and Con Edison of NY’s DR Control Center (DRCC)— reported positive business cases
6 | Cost/benefit information provided generally suggests that the business cases for these projects are not compelling unless specific incremental opportunities exist for creating value

## Slide 19: Table of Contents
1
Introduction
2
Foundational Work
3
Renewable and Distributed Systems Integration Program
4
Smart Grid Demonstration Program
5
Topical Reports
Smart Grid Business Case Analysis – May 2015
6
Summary

## Slide 20
Project | Technology Focus
AEP Ohio | Consumer and Distribution Systems
Con Edison Co of NY | Consumer Systems, DR, DER Integration
NRECA | Consumer and Distribution Systems
KCPL | Customer / Distribution, DER Integration
CCET | DER Integration (wind, storage, PV), DR
LIPA | Customer / Distribution Systems
Pecan Street Project | Consumer Systems (AMI, PV)
Boeing Co | Cybersecurity
NUSCO (AMR) | AMR to provide AMI functionality
Oncor Electric Delivery Co | Dynamic Line Rating for Transmission Lines
NYPA | Dynamic Line Rating for Transmission Lines
SG Business Case Analysis » SGDP
Projects are considered complete when the demonstration is complete and the FTR has been received by NETL.
Smart Grid Business Case Analysis – May 2015
Completed SGDP Projects
Notes: (NRECA) National Rural Electric Cooperative Association
(CCET) Center for Commercialization of Electric Technologies
(NUSCO) Northeast Utilities Service Co
(NYPA) Power Authority of New York

## Slide 21
Project | Technology Focus | FTR Expected
Battelle | Transactive Control | May 2015
LADWP | Customer Systems, DR, Cyber Security | Sept 2016
SCE | Customer / Distribution Systems, PMUs | Dec 2015
SuperPower | Superconducting FCL transformer enabling technologies in the lab | Dec 2016
NUSCO (UGM) | Distribution System, PV | Mar 2016
SG Business Case Analysis » SGDP
Smart Grid Business Case Analysis – May 2015
In-Progress SGDP Projects
Notes: (LADWP) Los Angeles Department of Water and Power
(SCE) Southern California Edison
(KCPL) Kansas City Power and Light
(LIPA) Long Island Power Authority
NUSCO (UGM) Northeast Utilities Service Company
PMU Phasor Measurement Unit
FCL Fault Current Limiting

## Slide 22
From the SGDP Regional Demonstration Program we draw a few key observations
Seven of the eleven completed projects successfully demonstrated AMI and customer technologies
NUSCO confirmed that a legacy AMR system can be leveraged to perform AMI functions
Pecan Street created an energy internet and the nation’s only research AMI meter network
Con Edison’s analysis indicates significant annual revenue may be possible through participation in the NYISO capacity market
AEP Ohio’s VVO system reduced energy consumption by 3% and demand by 2-3%
Boeing successfully deployed cybersecurity technologies at PJM
Oncor and NYPA demonstrated DLR technologies and confirmed the presence of real-time capacity above the static rating
SG Business Case Analysis » SGDP
Smart Grid Business Case Analysis – May 2015
Regional Demonstration Program Overview

## Slide 23
Project | Technology Focus
New York State Electric & Gas Corporation | Terminated before completion (CAES)
Seeo Inc. | Lithium ion battery (lab development)
SustainX | Isothermal CAES prototype
Aquion Energy | Sodium ion battery (lab development)
Public Service Co of New Mexico (PNM) | DER Integration (PV and storage)
SG Business Case Analysis » SGDP
Projects are considered complete when the demonstration is complete and the FTR has been received by NETL
Smart Grid Business Case Analysis – May 2015
Completed SGDP Projects
Notes: (CAES) Compressed Air Energy Storage

## Slide 24
Project | Technology Focus | FTR Expected
Pacific Gas & Electric | CAES Plant | Mar 2023
Southern California Edison | Grid scale BESS | June 2016
Beacon Power Corporation | Flywheel Plant for Frequency Regulation for PJM | Dec 2015
Duke Energy Business Services | Grid scale BESS for Ancillary Services for ERCOT | Sept 2015
Primus Power Corporation | Grid scale Energy Storage Farm | Mar 2018
Premium Power | Grid scale BESS | April 2018
SG Business Case Analysis » SGDP
Smart Grid Business Case Analysis – May 2015
In-Progress SGDP Projects
Notes: (LADWP) Los Angeles Department of Water and Power
(SCE) Southern California Edison
(KCPL) Kansas City Power and Light
(LIPA) Long Island Power Authority
NUSCO (UGM) Northeast Utilities Service Company
PMU Phasor Measurement Unit
FCL Fault Current Limiting

## Slide 25
Project | Technology Focus | FTR Expected
Detroit Edison Company | Community Energy Storage | Dec 2015
Ktech | DER Integration (PV and storage) | June 2015
Amber Kinetics | Flywheel Prototype | Sept 2015
City of Painesville | BESS for Frequency Regulation for PJM | Jan 2016
East Penn Manufacturing | BESS for frequency regulation for PJM | July 2015
SG Business Case Analysis » SGDP
Smart Grid Business Case Analysis – May 2015
In-Progress SGDP Projects, continued
Notes: (LADWP) Los Angeles Department of Water and Power
(SCE) Southern California Edison
(KCPL) Kansas City Power and Light
(LIPA) Long Island Power Authority
NUSCO (UGM) Northeast Utilities Service Company
PMU Phasor Measurement Unit
FCL Fault Current Limiting

## Slide 26
Finally, from the SGDP Energy Storage Program we want to highlight observations to date
Only five of the energy storage projects have been completed
SustainX developed an isothermal CAES prototype that it believes will be cost competitive with other storage options
Aquion developed a sodium ion battery that is expected to be cost competitive with lead-acid batteries
PNM successfully integrated a BESS with PV and demonstrated a number of BESS functions. Peak load was reduced by 15%
Beacon’s flywheel plant is provide regulating services to PJM
Duke’s grid scale storage is providing regulating services to ERCOT
Although many of these projects are still in progress, preliminary results are promising. A variety of new storage systems are being demonstrated.
SG Business Case Analysis » SGDP
Smart Grid Business Case Analysis – May 2015
Energy Storage Overview
Notes: (CAES) Compressed Air Energy Storage System

## Slide 27: Table of Contents
1
Introduction
2
Foundational Work
3
Renewable and Distributed Systems Integration Program
4
Smart Grid Demonstration Program
5
Topical Reports
Smart Grid Business Case Analysis – May 2015
Six topical reports were prepared throughout the course of the program
6
Summary

## Slide 28
These topical reports cover a wide breadth of research and analysis, which we will examine further in the coming pages
SG Business Case Analysis » Topical Reports
Smart Grid Business Case Analysis – May 2015
Topical Reports at a Glance
Report Titles | 
1 | Dynamic Line Rating Systems for Transmission Lines
2 | National Assessment of Conservation Voltage Reduction
3 | Microgrid Demonstrations
4 | Distributed Energy Resource Integration in a Modern Grid
5 | Smart Grid Communications: Laying the Foundations for Transactive Energy
6 | Analysis of Smart Grid Business Case Regulatory Filings

## Slide 29
Dynamic Line Rating Systems for Transmission Lines
SG Business Case Analysis » Topical Reports
Smart Grid Business Case Analysis – May 2015
Report Summary
Power Authority of the State of New York Oncor Electric Delivery Co
DLR can be a cost effective alternative for increasing transmission line capacity when compared to reconductoring or modifying structures Up to 44% additional usable capacity above static ratings Various DLR technologies demonstrated
Projects
Included
Highlights

## Slide 30
National Assessment of Conservation Voltage Reduction
SG Business Case Analysis » Topical Reports
Smart Grid Business Case Analysis – May 2015
Report Summary
41 contemporary CVR projects (beyond RDSI and SGDP) Collection of 583 references Review of 40 regulatory filings
Most utilities are still in the pilot stage for CVR Average energy savings was 1.84% Average reduction in peak load was 2.51% CVR is lower in cost than any supply-side option including renewables, and compares favorably to demand-side EE options CVR-related regulatory approaches are being handled in an ad hoc manner by various stakeholders across the country
Projects
Included
Highlights

## Slide 31
Microgrid Demonstrations
SG Business Case Analysis » Topical Reports
Smart Grid Business Case Analysis – May 2015
Report Summary
Projects
Included
Chevron Energy Solutions Santa Rita Jail CERTS Microgrid Illinois Institute of Technology Perfect Power Demonstration San Diego Gas and Electric Borrego Springs Microgrid PGE Salem Microgrid, part of the Battelle project
Highlights
Technical viability of microgrids was demonstrated by all four projects Microgrids may not have a positive business case except in special cases Energy storage systems and the Microgrid Master Controller are fundamental to successful microgrid operations Improved reliability and resiliency are key value areas for microgrids

## Slide 32
Distributed Energy Resource Integration in a Modern Grid
Recipient | Project Title | Solar PV | Small Wind | Grid-Connected Energy Storage | PEVs | DR
Consolidated Edison Company of New York (Con Edison) | Secure Interoperable Open Smart Grid Demonstration in NY and NJ | x |  | x | x | x
Con Edison | Interoperability of Demand Response Resources |  |  |  |  | x
Southern California Edison (SCE) | Irvine Smart Grid Demonstration | x |  | x | x | x
Center for Commercialization of Electric Technologies (CCET) | Technology Solutions for Wind Integration in ERCOT | x | x | x | x | x
Pecan Street Inc. (Pecan Street) | Energy Internet Demonstration | x |  | x | x | x
Hawaii Natural Energy Institute (HNEI) | Maui Smart Grid Demonstration Project | x |  | x |  | x
SG Business Case Analysis » Topical Reports
Smart Grid Business Case Analysis – May 2015
Projects and Technologies

## Slide 33
Distributed Energy Resource Integration in a Modern Grid (Continued)
SG Business Case Analysis » Topical Reports
Smart Grid Business Case Analysis – May 2015
Report Summary (Continued)
Projects
Included
See previous slide
Highlights
Con Edison found that energy storage can alleviate system congestion and provide significant value through participation in DR programs HNEI found that battery energy storage systems (BESS) can smooth variations in loads and renewable energy output SCE found that customer-facing technologies can help facilitate DER integration by simplifying the customer experience Con Edison developed a DR Control Center (DRCC) that created significant net annual value Pecan Street concluded that PEV adoption can likely rise to higher penetration levels without negative impacts CCET determined that EV battery capacity can provide frequency regulation but the cost to do so in ERCOT is prohibitive

## Slide 34
Smart Grid Communications: Laying the Foundations for Transactive Energy
SG Business Case Analysis » Topical Reports
Smart Grid Business Case Analysis – May 2015
Report Summary
Projects
Included
Southern California Edison — 4G LTE cellular and radio Kansas City Power & Light — Fiber optic, plain old telephone service (POTS), radio, Wi-Fi Con Edison— 4G LTE cellular, fiber optic, PLC, radio, virtual private network Battelle Memorial Institute — Fiber optic, PLC AEP Ohio — 3G cellular
Highlights
Transactive energy (TE) is an emerging concept Markets with a great need for DR resources may be more likely to adopt TE AEP Ohio demonstrated the ability to communicate real-time prices to customers Battelle demonstrated transactive control of a diverse portfolio of resources Standards, interoperability, cybersecurity, and customer data privacy remain ongoing concerns

## Slide 35
Analysis of Smart Grid Business Case Regulatory Filings
SG Business Case Analysis » Topical Reports
Smart Grid Business Case Analysis – May 2015
Report Summary
Scope
Review of Smart Grid Business Case Filings to PUCs Improve understanding of costs and benefits
Highlights
Reviewed 23 filings (majority were SGIG recipients) Four major benefit categories (metering, distribution, transmission, DR) Six common cost categories (equipment, IT, labor, PM, marketing, maintenance) Benefits widely varied based on project scope and strategy Cost recovery methods also varied AMI viewed as foundational for other smart grid technologies
The most common issues utilities identified included cost/benefit analysis, demand response benefits, technology, customer education, pricing, and project management. The biggest concern of the PUCs in reviewing the filings was the validation of the claimed benefits and anticipated costs of each case.
Notes: (PUC) Public Utility Commission
(PM) Project Management

## Slide 36: Table of Contents
1
Introduction
2
Foundational Work
3
Renewable and Distributed Systems Integration Program
4
Smart Grid Demonstration Program
5
Topical Reports
Smart Grid Business Case Analysis – May 2015
6
Summary

## Slide 37
The RDSI and SGDP programs produced important lessons learned, which will translate into greater success for future programs
SG Business Case Analysis » Summary
Smart Grid Business Case Analysis – May 2015
Lessons Learned
Observations | 
1 | Results submitted to date are generally encouraging from a performance perspective and validate many smart grid concepts
2 | Conversely, results related to the value proposition for many of the projects are lacking
3 | Many projects underestimated the effort needed to conduct a change management program to ensure all stakeholders were involved and aligned with project goals and impacts
4 | Weaknesses in project management was also identified as an issue that impacted project efficiency and effectiveness